## README
KPC Energy Intensity Benchmarking — Data Dictionary
SHEET 1: Case Study Jun2026
Purpose | EI case study using real KPLC billing data (Jan-Jun 2026)
Stations | PS1, PS3, PS5, PS7 — main 20" pipeline, Mombasa-Nairobi
Energy_kWh | ACTUAL — from KPLC electricity billing records
Volume_m3 | ★ SAMPLE — estimated; replace with SCADA meter readings
Runtime_hrs | ★ SAMPLE — estimated pump runtime; replace with SCADA logs
Energy_Intensity_kWh_m3 | Energy_kWh ÷ Volume_m3
Efficiency_Class | Efficient < 5.5 ¦ Moderate 5.5-7.5 ¦ Inefficient > 7.5 kWh/m³
SHEET 2: 5Yr Training Data
Purpose | ML training dataset with labelled anomalies (2020-2024)
All columns | ★ SAMPLE — calibrated to KPC billing profile
Is_Anomaly | 0 = Normal operation ¦ 1 = Anomaly event
Anomaly_Type | Equipment_Degradation ¦ Off_BEP_Operation ¦ Maintenance_Period ¦ Power_Quality_Issue ¦ Pump_Failure_Indicator ¦ Normal
Total records | 240 (4 stations × 60 months)
Anomalies | 20 injected events (5 per station, 1 of each type)
THRESHOLDS
Efficient | EI < 5.5 kWh/m³ (Green)
Moderate | EI 5.5–7.5 kWh/m³ (Yellow)
Inefficient | EI > 7.5 kWh/m³ (Red)
Capstone Project ¦ Dorothy Lizz Odoyo ¦ MSc Sustainable Energy Transition ¦ Strathmore University 2026

## Case Study Jun2026
Date | Month | Year | Station | Energy_kWh | Volume_m3 (★ sample) | Runtime_hrs (★ sample) | Flow_Rate_m3hr | Avg_Power_kW | Energy_Intensity_kWh_m3 | Efficiency_Class | Data_Note
2026-01-01 | Jan | 2026 | PS1 | 2317134 | 395000 | 580 | 681 | 3995.1 | 5.8662 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-02-01 | Feb | 2026 | PS1 | 2349447 | 350000 | 520 | 673.1 | 4518.2 | 6.7127 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-03-01 | Mar | 2026 | PS1 | 2716257 | 430000 | 630 | 682.5 | 4311.5 | 6.3169 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-04-01 | Apr | 2026 | PS1 | 2257791 | 360000 | 545 | 660.6 | 4142.7 | 6.2716 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-05-01 | May | 2026 | PS1 | 2169519 | 400000 | 590 | 678 | 3677.2 | 5.4238 | Efficient | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-06-01 | Jun | 2026 | PS1 | 2384220 | 375000 | 560 | 669.6 | 4257.5 | 6.3579 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-01-01 | Jan | 2026 | PS3 | 1899924 | 395000 | 560 | 705.4 | 3392.7 | 4.8099 | Efficient | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-02-01 | Feb | 2026 | PS3 | 2225376 | 350000 | 510 | 686.3 | 4363.5 | 6.3582 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-03-01 | Mar | 2026 | PS3 | 1906080 | 430000 | 610 | 704.9 | 3124.7 | 4.4327 | Efficient | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-04-01 | Apr | 2026 | PS3 | 2118120 | 360000 | 530 | 679.2 | 3996.5 | 5.8837 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-05-01 | May | 2026 | PS3 | 1861224 | 400000 | 575 | 695.7 | 3236.9 | 4.6531 | Efficient | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-06-01 | Jun | 2026 | PS3 | 2040312 | 375000 | 545 | 688.1 | 3743.7 | 5.4408 | Efficient | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-01-01 | Jan | 2026 | PS5 | 2193846 | 395000 | 575 | 687 | 3815.4 | 5.554 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-02-01 | Feb | 2026 | PS5 | 2138910 | 350000 | 515 | 679.6 | 4153.2 | 6.1112 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-03-01 | Mar | 2026 | PS5 | 2502426 | 430000 | 625 | 688 | 4003.9 | 5.8196 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-04-01 | Apr | 2026 | PS5 | 2057286 | 360000 | 535 | 672.9 | 3845.4 | 5.7147 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-05-01 | May | 2026 | PS5 | 2029614 | 400000 | 580 | 689.7 | 3499.3 | 5.074 | Efficient | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-06-01 | Jun | 2026 | PS5 | 2245356 | 375000 | 548 | 684.3 | 4097.4 | 5.9876 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-01-01 | Jan | 2026 | PS7 | 2038182 | 395000 | 548 | 720.8 | 3719.3 | 5.16 | Efficient | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-02-01 | Feb | 2026 | PS7 | 1977528 | 350000 | 498 | 702.8 | 3970.9 | 5.6501 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-03-01 | Mar | 2026 | PS7 | 2415570 | 430000 | 605 | 710.7 | 3992.7 | 5.6176 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-04-01 | Apr | 2026 | PS7 | 1949652 | 360000 | 518 | 695 | 3763.8 | 5.4157 | Efficient | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-05-01 | May | 2026 | PS7 | 1904724 | 400000 | 568 | 704.2 | 3353.4 | 4.7618 | Efficient | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)
2026-06-01 | Jun | 2026 | PS7 | 2136456 | 375000 | 536 | 699.6 | 3985.9 | 5.6972 | Moderate | Energy=ACTUAL KPLC billing ¦ Volume=SAMPLE (replace with SCADA)

## 5Yr Training Data
Date | Year | Month | Month_Name | Quarter | Station | Energy_kWh (★sample) | Volume_m3 (★sample) | Runtime_hrs (★sample) | Flow_Rate_m3hr | Avg_Power_kW | Power_Factor | Energy_Intensity_kWh_m3 | Efficiency_Class | Is_Anomaly (0=No 1=Yes) | Anomaly_Type | Anomaly_Notes
2020-01-01 | 2020 | 1 | Jan | Q1 | PS1 | 2032441 | 340003 | 513.2 | 662.6 | 3960.6 | 0.9778 | 5.9777 | Moderate | 0 | Normal | Normal operation
2020-02-01 | 2020 | 2 | Feb | Q1 | PS1 | 2136523 | 350627 | 537.1 | 652.8 | 3977.9 | 0.9665 | 6.0934 | Moderate | 0 | Normal | Normal operation
2020-03-01 | 2020 | 3 | Mar | Q1 | PS1 | 2172616 | 371244 | 583.4 | 636.4 | 3724.3 | 0.948 | 5.8523 | Moderate | 0 | Normal | Normal operation
2020-04-01 | 2020 | 4 | Apr | Q2 | PS1 | 2278705 | 399436 | 581.2 | 687.3 | 3920.9 | 0.9466 | 5.7048 | Moderate | 0 | Normal | Normal operation
2020-05-01 | 2020 | 5 | May | Q2 | PS1 | 2356785 | 405868 | 640 | 634.2 | 3682.6 | 0.9338 | 5.8068 | Moderate | 0 | Normal | Normal operation
2020-06-01 | 2020 | 6 | Jun | Q2 | PS1 | 2559168 | 431725 | 641.3 | 673.2 | 3990.9 | 0.9336 | 5.9278 | Moderate | 0 | Normal | Normal operation
2020-07-01 | 2020 | 7 | Jul | Q3 | PS1 | 2369826 | 409616 | 637.2 | 642.9 | 3719.2 | 0.9606 | 5.7855 | Moderate | 0 | Normal | Normal operation
2020-08-01 | 2020 | 8 | Aug | Q3 | PS1 | 2299358 | 392695 | 606 | 648 | 3794.5 | 0.9828 | 5.8553 | Moderate | 0 | Normal | Normal operation
2020-09-01 | 2020 | 9 | Sep | Q3 | PS1 | 1181936 | 206142 | 272.1 | 757.6 | 4343.9 | 0.9367 | 5.7336 | Moderate | 1 | Maintenance_Period | Planned shutdown; reduced throughput
2020-10-01 | 2020 | 10 | Oct | Q4 | PS1 | 2045697 | 354171 | 512.1 | 691.6 | 3994.9 | 0.958 | 5.776 | Moderate | 0 | Normal | Normal operation
2020-11-01 | 2020 | 11 | Nov | Q4 | PS1 | 2026130 | 341937 | 518.8 | 659 | 3905.1 | 0.9505 | 5.9255 | Moderate | 0 | Normal | Normal operation
2020-12-01 | 2020 | 12 | Dec | Q4 | PS1 | 1873393 | 318172 | 496.3 | 641.1 | 3774.6 | 0.9709 | 5.888 | Moderate | 0 | Normal | Normal operation
2021-01-01 | 2021 | 1 | Jan | Q1 | PS1 | 2027954 | 338778 | 490 | 691.3 | 4138.4 | 0.9492 | 5.9861 | Moderate | 0 | Normal | Normal operation
2021-02-01 | 2021 | 2 | Feb | Q1 | PS1 | 2108488 | 347085 | 551.1 | 629.8 | 3826.1 | 0.969 | 6.0749 | Moderate | 0 | Normal | Normal operation
2021-03-01 | 2021 | 3 | Mar | Q1 | PS1 | 2735696 | 357036 | 600.8 | 594.3 | 4553.4 | 0.9496 | 7.6622 | Inefficient | 1 | Equipment_Degradation | Increased bearing friction; pump curve shift
2021-04-01 | 2021 | 4 | Apr | Q2 | PS1 | 2293596 | 393667 | 608.5 | 646.9 | 3769 | 0.9371 | 5.8262 | Moderate | 0 | Normal | Normal operation
2021-05-01 | 2021 | 5 | May | Q2 | PS1 | 2503609 | 420471 | 657.1 | 639.9 | 3810 | 0.9701 | 5.9543 | Moderate | 0 | Normal | Normal operation
2021-06-01 | 2021 | 6 | Jun | Q2 | PS1 | 2541686 | 422893 | 636.5 | 664.4 | 3993.2 | 0.9781 | 6.0102 | Moderate | 0 | Normal | Normal operation
2021-07-01 | 2021 | 7 | Jul | Q3 | PS1 | 2339978 | 413685 | 660.5 | 626.3 | 3542.7 | 0.9673 | 5.6564 | Moderate | 0 | Normal | Normal operation
2021-08-01 | 2021 | 8 | Aug | Q3 | PS1 | 2383502 | 398196 | 607.3 | 655.7 | 3924.6 | 0.9252 | 5.9857 | Moderate | 0 | Normal | Normal operation
2021-09-01 | 2021 | 9 | Sep | Q3 | PS1 | 2297687 | 373243 | 582.6 | 640.6 | 3943.5 | 0.9472 | 6.156 | Moderate | 0 | Normal | Normal operation
2021-10-01 | 2021 | 10 | Oct | Q4 | PS1 | 2108182 | 346032 | 535.2 | 646.5 | 3938.8 | 0.9599 | 6.0924 | Moderate | 0 | Normal | Normal operation
2021-11-01 | 2021 | 11 | Nov | Q4 | PS1 | 1990142 | 331791 | 525.2 | 631.7 | 3789.3 | 0.9695 | 5.9982 | Moderate | 0 | Normal | Normal operation
2021-12-01 | 2021 | 12 | Dec | Q4 | PS1 | 1927946 | 324384 | 503.4 | 644.4 | 3829.8 | 0.933 | 5.9434 | Moderate | 0 | Normal | Normal operation
2022-01-01 | 2022 | 1 | Jan | Q1 | PS1 | 2028700 | 338398 | 521.6 | 648.7 | 3889.2 | 0.9515 | 5.995 | Moderate | 0 | Normal | Normal operation
2022-02-01 | 2022 | 2 | Feb | Q1 | PS1 | 2032462 | 341177 | 536.9 | 635.5 | 3785.7 | 0.943 | 5.9572 | Moderate | 0 | Normal | Normal operation
2022-03-01 | 2022 | 3 | Mar | Q1 | PS1 | 2327692 | 373710 | 584 | 639.9 | 3985.5 | 0.9576 | 6.2286 | Moderate | 0 | Normal | Normal operation
2022-04-01 | 2022 | 4 | Apr | Q2 | PS1 | 2307840 | 399560 | 611.7 | 653.2 | 3773.1 | 0.9546 | 5.7759 | Moderate | 0 | Normal | Normal operation
2022-05-01 | 2022 | 5 | May | Q2 | PS1 | 2481351 | 414453 | 675.2 | 613.8 | 3674.8 | 0.9595 | 5.9871 | Moderate | 0 | Normal | Normal operation
2022-06-01 | 2022 | 6 | Jun | Q2 | PS1 | 2581798 | 419722 | 630.2 | 666 | 4096.9 | 0.9663 | 6.1512 | Moderate | 0 | Normal | Normal operation
2022-07-01 | 2022 | 7 | Jul | Q3 | PS1 | 2783487 | 370623 | 701.5 | 528.3 | 3967.8 | 0.904 | 7.5103 | Inefficient | 1 | Off_BEP_Operation | Pump operated far from best efficiency point
2022-08-01 | 2022 | 8 | Aug | Q3 | PS1 | 2374184 | 402195 | 646.1 | 622.5 | 3674.6 | 0.9465 | 5.9031 | Moderate | 0 | Normal | Normal operation
2022-09-01 | 2022 | 9 | Sep | Q3 | PS1 | 2194576 | 375797 | 571.1 | 658 | 3842.7 | 0.956 | 5.8398 | Moderate | 0 | Normal | Normal operation
2022-10-01 | 2022 | 10 | Oct | Q4 | PS1 | 2036307 | 344002 | 551.1 | 624.2 | 3694.7 | 0.9782 | 5.9195 | Moderate | 0 | Normal | Normal operation
2022-11-01 | 2022 | 11 | Nov | Q4 | PS1 | 2021893 | 329763 | 513.9 | 641.7 | 3934.5 | 0.9365 | 6.1314 | Moderate | 0 | Normal | Normal operation
2022-12-01 | 2022 | 12 | Dec | Q4 | PS1 | 1939409 | 331820 | 529.1 | 627.1 | 3665.3 | 0.9578 | 5.8448 | Moderate | 0 | Normal | Normal operation
2023-01-01 | 2023 | 1 | Jan | Q1 | PS1 | 1992526 | 338108 | 530.7 | 637.2 | 3754.9 | 0.9352 | 5.8932 | Moderate | 0 | Normal | Normal operation
2023-02-01 | 2023 | 2 | Feb | Q1 | PS1 | 2167015 | 356676 | 548.9 | 649.8 | 3947.8 | 0.9602 | 6.0756 | Moderate | 0 | Normal | Normal operation
2023-03-01 | 2023 | 3 | Mar | Q1 | PS1 | 2248637 | 369560 | 582.8 | 634.1 | 3858.2 | 0.9443 | 6.0846 | Moderate | 0 | Normal | Normal operation
2023-04-01 | 2023 | 4 | Apr | Q2 | PS1 | 2437622 | 412426 | 621.3 | 663.8 | 3923.3 | 0.9648 | 5.9104 | Moderate | 0 | Normal | Normal operation
2023-05-01 | 2023 | 5 | May | Q2 | PS1 | 2516800 | 406174 | 651.6 | 623.4 | 3862.5 | 0.9427 | 6.1964 | Moderate | 0 | Normal | Normal operation
2023-06-01 | 2023 | 6 | Jun | Q2 | PS1 | 2634638 | 427707 | 655.4 | 652.6 | 4019.8 | 0.9835 | 6.1599 | Moderate | 0 | Normal | Normal operation
2023-07-01 | 2023 | 7 | Jul | Q3 | PS1 | 2454933 | 412008 | 628.7 | 655.3 | 3904.6 | 0.9428 | 5.9585 | Moderate | 0 | Normal | Normal operation
2023-08-01 | 2023 | 8 | Aug | Q3 | PS1 | 2421915 | 396883 | 619.8 | 640.3 | 3907.5 | 0.9674 | 6.1023 | Moderate | 0 | Normal | Normal operation
2023-09-01 | 2023 | 9 | Sep | Q3 | PS1 | 2266119 | 375104 | 601.8 | 623.3 | 3765.5 | 0.9958 | 6.0413 | Moderate | 0 | Normal | Normal operation
2023-10-01 | 2023 | 10 | Oct | Q4 | PS1 | 2126618 | 357505 | 532.5 | 671.4 | 3994 | 0.9622 | 5.9485 | Moderate | 0 | Normal | Normal operation
2023-11-01 | 2023 | 11 | Nov | Q4 | PS1 | 2417329 | 334241 | 530.6 | 629.9 | 4555.5 | 0.8739 | 7.2323 | Moderate | 1 | Power_Quality_Issue | Low power factor; voltage sags from KPLC grid
2023-12-01 | 2023 | 12 | Dec | Q4 | PS1 | 1949466 | 323226 | 488 | 662.4 | 3995 | 0.9678 | 6.0313 | Moderate | 0 | Normal | Normal operation
2024-01-01 | 2024 | 1 | Jan | Q1 | PS1 | 2063460 | 337742 | 501.5 | 673.5 | 4115 | 0.9608 | 6.1096 | Moderate | 0 | Normal | Normal operation
2024-02-01 | 2024 | 2 | Feb | Q1 | PS1 | 2107020 | 345429 | 548 | 630.3 | 3844.6 | 0.9379 | 6.0997 | Moderate | 0 | Normal | Normal operation
2024-03-01 | 2024 | 3 | Mar | Q1 | PS1 | 2352810 | 377862 | 589.1 | 641.4 | 3993.9 | 0.9708 | 6.2266 | Moderate | 0 | Normal | Normal operation
2024-04-01 | 2024 | 4 | Apr | Q2 | PS1 | 2381638 | 386479 | 601.6 | 642.4 | 3959 | 0.9627 | 6.1624 | Moderate | 0 | Normal | Normal operation
2024-05-01 | 2024 | 5 | May | Q2 | PS1 | 2621613 | 293900 | 720 | 408.2 | 3641.1 | 0.922 | 8.9201 | Inefficient | 1 | Pump_Failure_Indicator | Abnormal vibration; cavitation/seal failure signs
2024-06-01 | 2024 | 6 | Jun | Q2 | PS1 | 2595998 | 427632 | 660.5 | 647.4 | 3930.3 | 0.9664 | 6.0706 | Moderate | 0 | Normal | Normal operation
2024-07-01 | 2024 | 7 | Jul | Q3 | PS1 | 2468816 | 407789 | 638 | 639.2 | 3869.8 | 0.9562 | 6.0542 | Moderate | 0 | Normal | Normal operation
2024-08-01 | 2024 | 8 | Aug | Q3 | PS1 | 2578760 | 416017 | 588.1 | 707.4 | 4384.8 | 0.9308 | 6.1987 | Moderate | 0 | Normal | Normal operation
2024-09-01 | 2024 | 9 | Sep | Q3 | PS1 | 2274857 | 371225 | 597.7 | 621.1 | 3806.1 | 0.9388 | 6.128 | Moderate | 0 | Normal | Normal operation
2024-10-01 | 2024 | 10 | Oct | Q4 | PS1 | 2093342 | 346778 | 556.8 | 622.8 | 3759.8 | 0.9582 | 6.0366 | Moderate | 0 | Normal | Normal operation
2024-11-01 | 2024 | 11 | Nov | Q4 | PS1 | 2148009 | 336393 | 511.4 | 657.8 | 4200.5 | 0.9645 | 6.3854 | Moderate | 0 | Normal | Normal operation
2024-12-01 | 2024 | 12 | Dec | Q4 | PS1 | 1899315 | 313799 | 514.7 | 609.7 | 3690.2 | 0.9678 | 6.0527 | Moderate | 0 | Normal | Normal operation
2020-01-01 | 2020 | 1 | Jan | Q1 | PS3 | 1668422 | 329689 | 495.6 | 665.2 | 3366.5 | 0.968 | 5.0606 | Efficient | 0 | Normal | Normal operation
2020-02-01 | 2020 | 2 | Feb | Q1 | PS3 | 1696088 | 342898 | 516.8 | 663.5 | 3282 | 0.9452 | 4.9463 | Efficient | 0 | Normal | Normal operation
2020-03-01 | 2020 | 3 | Mar | Q1 | PS3 | 1889336 | 389124 | 561.3 | 693.3 | 3366 | 0.9688 | 4.8554 | Efficient | 0 | Normal | Normal operation
2020-04-01 | 2020 | 4 | Apr | Q2 | PS3 | 2000962 | 414477 | 604.1 | 686.1 | 3312.1 | 0.9477 | 4.8277 | Efficient | 0 | Normal | Normal operation
2020-05-01 | 2020 | 5 | May | Q2 | PS3 | 2148774 | 424106 | 602.6 | 703.9 | 3566.1 | 0.9666 | 5.0666 | Efficient | 0 | Normal | Normal operation
2020-06-01 | 2020 | 6 | Jun | Q2 | PS3 | 2075818 | 362185 | 696 | 520.4 | 2982.5 | 0.9096 | 5.7314 | Moderate | 1 | Off_BEP_Operation | Pump operated far from best efficiency point
2020-07-01 | 2020 | 7 | Jul | Q3 | PS3 | 2148689 | 411951 | 594.7 | 692.7 | 3613.1 | 0.9335 | 5.2159 | Efficient | 0 | Normal | Normal operation
2020-08-01 | 2020 | 8 | Aug | Q3 | PS3 | 2047231 | 393980 | 591.1 | 666.5 | 3463.5 | 0.9335 | 5.1963 | Efficient | 0 | Normal | Normal operation
2020-09-01 | 2020 | 9 | Sep | Q3 | PS3 | 1886511 | 384305 | 556 | 691.1 | 3392.8 | 0.9619 | 4.9089 | Efficient | 0 | Normal | Normal operation
2020-10-01 | 2020 | 10 | Oct | Q4 | PS3 | 1784051 | 354092 | 513.6 | 689.4 | 3473.4 | 0.9492 | 5.0384 | Efficient | 0 | Normal | Normal operation
2020-11-01 | 2020 | 11 | Nov | Q4 | PS3 | 1760043 | 336937 | 508.2 | 662.9 | 3463 | 0.9364 | 5.2237 | Efficient | 0 | Normal | Normal operation
2020-12-01 | 2020 | 12 | Dec | Q4 | PS3 | 1741726 | 347064 | 460.2 | 754.2 | 3784.8 | 0.9638 | 5.0185 | Efficient | 0 | Normal | Normal operation
2021-01-01 | 2021 | 1 | Jan | Q1 | PS3 | 1696467 | 338277 | 489.2 | 691.5 | 3468 | 0.9476 | 5.015 | Efficient | 0 | Normal | Normal operation
2021-02-01 | 2021 | 2 | Feb | Q1 | PS3 | 1768896 | 347785 | 535.8 | 649.1 | 3301.4 | 0.9446 | 5.0862 | Efficient | 0 | Normal | Normal operation
2021-03-01 | 2021 | 3 | Mar | Q1 | PS3 | 1966101 | 382197 | 561.2 | 681.1 | 3503.6 | 0.9644 | 5.1442 | Efficient | 0 | Normal | Normal operation
2021-04-01 | 2021 | 4 | Apr | Q2 | PS3 | 2008935 | 390868 | 581.7 | 672 | 3453.8 | 0.9642 | 5.1397 | Efficient | 0 | Normal | Normal operation
2021-05-01 | 2021 | 5 | May | Q2 | PS3 | 2154534 | 413804 | 616.4 | 671.3 | 3495.4 | 0.9461 | 5.2067 | Efficient | 0 | Normal | Normal operation
2021-06-01 | 2021 | 6 | Jun | Q2 | PS3 | 2134846 | 424377 | 620.7 | 683.7 | 3439.6 | 0.9715 | 5.0305 | Efficient | 0 | Normal | Normal operation
2021-07-01 | 2021 | 7 | Jul | Q3 | PS3 | 2193993 | 420574 | 627.1 | 670.7 | 3498.8 | 0.9553 | 5.2167 | Efficient | 0 | Normal | Normal operation
2021-08-01 | 2021 | 8 | Aug | Q3 | PS3 | 2055974 | 402956 | 585.9 | 687.8 | 3509.3 | 0.953 | 5.1022 | Efficient | 0 | Normal | Normal operation
2021-09-01 | 2021 | 9 | Sep | Q3 | PS3 | 1867035 | 375776 | 566.1 | 663.8 | 3297.9 | 0.9864 | 4.9685 | Efficient | 0 | Normal | Normal operation
2021-10-01 | 2021 | 10 | Oct | Q4 | PS3 | 920860 | 185827 | 243.7 | 762.4 | 3778.2 | 0.9669 | 4.9555 | Efficient | 1 | Maintenance_Period | Planned shutdown; reduced throughput
2021-11-01 | 2021 | 11 | Nov | Q4 | PS3 | 1729616 | 341022 | 508.9 | 670.1 | 3398.6 | 0.9415 | 5.0719 | Efficient | 0 | Normal | Normal operation
2021-12-01 | 2021 | 12 | Dec | Q4 | PS3 | 1717064 | 330606 | 480.5 | 688.1 | 3573.7 | 0.9528 | 5.1937 | Efficient | 0 | Normal | Normal operation
2022-01-01 | 2022 | 1 | Jan | Q1 | PS3 | 1689802 | 329425 | 494.9 | 665.7 | 3414.6 | 0.9465 | 5.1296 | Efficient | 0 | Normal | Normal operation
2022-02-01 | 2022 | 2 | Feb | Q1 | PS3 | 1768607 | 345922 | 527.9 | 655.2 | 3350 | 0.9474 | 5.1127 | Efficient | 0 | Normal | Normal operation
2022-03-01 | 2022 | 3 | Mar | Q1 | PS3 | 1823823 | 371232 | 561.3 | 661.3 | 3249 | 0.9339 | 4.9129 | Efficient | 0 | Normal | Normal operation
2022-04-01 | 2022 | 4 | Apr | Q2 | PS3 | 2488823 | 379827 | 617.8 | 614.8 | 4028.3 | 0.9571 | 6.5525 | Moderate | 1 | Equipment_Degradation | Increased bearing friction; pump curve shift
2022-05-01 | 2022 | 5 | May | Q2 | PS3 | 2142479 | 420832 | 613.7 | 685.7 | 3491.2 | 0.94 | 5.0911 | Efficient | 0 | Normal | Normal operation
2022-06-01 | 2022 | 6 | Jun | Q2 | PS3 | 2156104 | 419852 | 620.9 | 676.3 | 3472.8 | 0.9426 | 5.1354 | Efficient | 0 | Normal | Normal operation
2022-07-01 | 2022 | 7 | Jul | Q3 | PS3 | 2126985 | 418126 | 639.3 | 654 | 3327 | 0.961 | 5.0869 | Efficient | 0 | Normal | Normal operation
2022-08-01 | 2022 | 8 | Aug | Q3 | PS3 | 2067589 | 403021 | 585.9 | 687.9 | 3528.9 | 0.9552 | 5.1302 | Efficient | 0 | Normal | Normal operation
2022-09-01 | 2022 | 9 | Sep | Q3 | PS3 | 1920096 | 375781 | 546.9 | 687.1 | 3510.7 | 0.9625 | 5.1096 | Efficient | 0 | Normal | Normal operation
2022-10-01 | 2022 | 10 | Oct | Q4 | PS3 | 1954677 | 364109 | 539.5 | 674.9 | 3623.1 | 0.9435 | 5.3684 | Efficient | 0 | Normal | Normal operation
2022-11-01 | 2022 | 11 | Nov | Q4 | PS3 | 1844046 | 343007 | 503.4 | 681.3 | 3663 | 0.9429 | 5.3761 | Efficient | 0 | Normal | Normal operation
2022-12-01 | 2022 | 12 | Dec | Q4 | PS3 | 1571733 | 323282 | 482.8 | 669.6 | 3255.5 | 0.9471 | 4.8618 | Efficient | 0 | Normal | Normal operation
2023-01-01 | 2023 | 1 | Jan | Q1 | PS3 | 1702905 | 329956 | 503.1 | 655.8 | 3384.6 | 0.9831 | 5.161 | Efficient | 0 | Normal | Normal operation
2023-02-01 | 2023 | 2 | Feb | Q1 | PS3 | 1806107 | 360103 | 516.9 | 696.7 | 3494.3 | 0.9624 | 5.0155 | Efficient | 0 | Normal | Normal operation
2023-03-01 | 2023 | 3 | Mar | Q1 | PS3 | 1919933 | 364438 | 586.7 | 621.2 | 3272.7 | 0.948 | 5.2682 | Efficient | 0 | Normal | Normal operation
2023-04-01 | 2023 | 4 | Apr | Q2 | PS3 | 1963593 | 383795 | 613.2 | 625.9 | 3202.4 | 0.9736 | 5.1163 | Efficient | 0 | Normal | Normal operation
2023-05-01 | 2023 | 5 | May | Q2 | PS3 | 2059827 | 401216 | 608.5 | 659.3 | 3384.8 | 0.9557 | 5.134 | Efficient | 0 | Normal | Normal operation
2023-06-01 | 2023 | 6 | Jun | Q2 | PS3 | 2085559 | 416399 | 636 | 654.7 | 3279.2 | 0.9529 | 5.0086 | Efficient | 0 | Normal | Normal operation
2023-07-01 | 2023 | 7 | Jul | Q3 | PS3 | 2168191 | 414934 | 625.5 | 663.4 | 3466.4 | 0.9381 | 5.2254 | Efficient | 0 | Normal | Normal operation
2023-08-01 | 2023 | 8 | Aug | Q3 | PS3 | 2353357 | 385227 | 612.5 | 629 | 3842.4 | 0.8638 | 6.109 | Moderate | 1 | Power_Quality_Issue | Low power factor; voltage sags from KPLC grid
2023-09-01 | 2023 | 9 | Sep | Q3 | PS3 | 2048691 | 387409 | 561.6 | 689.9 | 3648.1 | 0.956 | 5.2882 | Efficient | 0 | Normal | Normal operation
2023-10-01 | 2023 | 10 | Oct | Q4 | PS3 | 1889254 | 368986 | 552.7 | 667.6 | 3418.4 | 0.9696 | 5.1201 | Efficient | 0 | Normal | Normal operation
2023-11-01 | 2023 | 11 | Nov | Q4 | PS3 | 1718769 | 341192 | 522.4 | 653.1 | 3290.3 | 0.9653 | 5.0375 | Efficient | 0 | Normal | Normal operation
2023-12-01 | 2023 | 12 | Dec | Q4 | PS3 | 1697304 | 338467 | 466.6 | 725.5 | 3637.9 | 0.9244 | 5.0147 | Efficient | 0 | Normal | Normal operation
2024-01-01 | 2024 | 1 | Jan | Q1 | PS3 | 1782979 | 333874 | 512.8 | 651.1 | 3476.9 | 0.9561 | 5.3403 | Efficient | 0 | Normal | Normal operation
2024-02-01 | 2024 | 2 | Feb | Q1 | PS3 | 1891821 | 259779 | 664.1 | 391.2 | 2848.8 | 0.9042 | 7.2824 | Moderate | 1 | Pump_Failure_Indicator | Abnormal vibration; cavitation/seal failure signs
2024-03-01 | 2024 | 3 | Mar | Q1 | PS3 | 1859578 | 378073 | 560 | 675.1 | 3320.7 | 0.9537 | 4.9186 | Efficient | 0 | Normal | Normal operation
2024-04-01 | 2024 | 4 | Apr | Q2 | PS3 | 2018150 | 387064 | 604.3 | 640.5 | 3339.8 | 0.9409 | 5.214 | Efficient | 0 | Normal | Normal operation
2024-05-01 | 2024 | 5 | May | Q2 | PS3 | 2117261 | 409860 | 603.1 | 679.6 | 3510.7 | 0.9693 | 5.1658 | Efficient | 0 | Normal | Normal operation
2024-06-01 | 2024 | 6 | Jun | Q2 | PS3 | 2107155 | 412114 | 635.7 | 648.3 | 3314.9 | 0.9431 | 5.113 | Efficient | 0 | Normal | Normal operation
2024-07-01 | 2024 | 7 | Jul | Q3 | PS3 | 2112489 | 413115 | 603.7 | 684.3 | 3499.3 | 0.937 | 5.1136 | Efficient | 0 | Normal | Normal operation
2024-08-01 | 2024 | 8 | Aug | Q3 | PS3 | 2107149 | 413218 | 595.2 | 694.2 | 3540.1 | 0.9582 | 5.0994 | Efficient | 0 | Normal | Normal operation
2024-09-01 | 2024 | 9 | Sep | Q3 | PS3 | 1967910 | 374101 | 557.8 | 670.6 | 3527.8 | 0.9664 | 5.2604 | Efficient | 0 | Normal | Normal operation
2024-10-01 | 2024 | 10 | Oct | Q4 | PS3 | 1795954 | 348256 | 518.9 | 671.1 | 3460.9 | 0.9205 | 5.157 | Efficient | 0 | Normal | Normal operation
2024-11-01 | 2024 | 11 | Nov | Q4 | PS3 | 1746097 | 323907 | 523.5 | 618.7 | 3335.3 | 0.9513 | 5.3907 | Efficient | 0 | Normal | Normal operation
2024-12-01 | 2024 | 12 | Dec | Q4 | PS3 | 1862497 | 334612 | 498.8 | 670.9 | 3734.3 | 0.9718 | 5.5661 | Moderate | 0 | Normal | Normal operation
2020-01-01 | 2020 | 1 | Jan | Q1 | PS5 | 1811451 | 335006 | 496.4 | 674.8 | 3648.9 | 0.9581 | 5.4072 | Efficient | 0 | Normal | Normal operation
2020-02-01 | 2020 | 2 | Feb | Q1 | PS5 | 1914528 | 346449 | 514.6 | 673.3 | 3720.6 | 0.9388 | 5.5261 | Moderate | 0 | Normal | Normal operation
2020-03-01 | 2020 | 3 | Mar | Q1 | PS5 | 2178113 | 388497 | 583.5 | 665.9 | 3733.1 | 0.9772 | 5.6065 | Moderate | 0 | Normal | Normal operation
2020-04-01 | 2020 | 4 | Apr | Q2 | PS5 | 2306691 | 398119 | 591.6 | 672.9 | 3898.8 | 0.9631 | 5.794 | Moderate | 0 | Normal | Normal operation
2020-05-01 | 2020 | 5 | May | Q2 | PS5 | 2235202 | 405673 | 626.9 | 647.1 | 3565.6 | 0.9343 | 5.5099 | Moderate | 0 | Normal | Normal operation
2020-06-01 | 2020 | 6 | Jun | Q2 | PS5 | 2329740 | 427409 | 667.7 | 640.1 | 3489.3 | 0.9634 | 5.4508 | Efficient | 0 | Normal | Normal operation
2020-07-01 | 2020 | 7 | Jul | Q3 | PS5 | 2269188 | 408766 | 622.7 | 656.5 | 3644.2 | 0.942 | 5.5513 | Moderate | 0 | Normal | Normal operation
2020-08-01 | 2020 | 8 | Aug | Q3 | PS5 | 2251485 | 397888 | 592.6 | 671.5 | 3799.5 | 0.9542 | 5.6586 | Moderate | 0 | Normal | Normal operation
2020-09-01 | 2020 | 9 | Sep | Q3 | PS5 | 2074616 | 373088 | 557.3 | 669.5 | 3722.6 | 0.9663 | 5.5607 | Moderate | 0 | Normal | Normal operation
2020-10-01 | 2020 | 10 | Oct | Q4 | PS5 | 2012669 | 356507 | 522.1 | 682.8 | 3855 | 0.9663 | 5.6455 | Moderate | 0 | Normal | Normal operation
2020-11-01 | 2020 | 11 | Nov | Q4 | PS5 | 2230747 | 312593 | 545.5 | 573 | 4089.2 | 0.9436 | 7.1363 | Moderate | 1 | Equipment_Degradation | Increased bearing friction; pump curve shift
2020-12-01 | 2020 | 12 | Dec | Q4 | PS5 | 1763849 | 323894 | 475.6 | 681 | 3708.5 | 0.9557 | 5.4458 | Efficient | 0 | Normal | Normal operation
2021-01-01 | 2021 | 1 | Jan | Q1 | PS5 | 1934454 | 338107 | 498.4 | 678.4 | 3881.2 | 0.9301 | 5.7214 | Moderate | 0 | Normal | Normal operation
2021-02-01 | 2021 | 2 | Feb | Q1 | PS5 | 1960591 | 351971 | 519 | 678.1 | 3777.5 | 0.9557 | 5.5703 | Moderate | 0 | Normal | Normal operation
2021-03-01 | 2021 | 3 | Mar | Q1 | PS5 | 2125146 | 368117 | 565.8 | 650.6 | 3755.9 | 0.9463 | 5.773 | Moderate | 0 | Normal | Normal operation
2021-04-01 | 2021 | 4 | Apr | Q2 | PS5 | 2311770 | 404186 | 589.1 | 686.2 | 3924.5 | 0.9766 | 5.7196 | Moderate | 0 | Normal | Normal operation
2021-05-01 | 2021 | 5 | May | Q2 | PS5 | 2659943 | 394198 | 619.3 | 636.5 | 4295.2 | 0.872 | 6.7477 | Moderate | 1 | Power_Quality_Issue | Low power factor; voltage sags from KPLC grid
2021-06-01 | 2021 | 6 | Jun | Q2 | PS5 | 2399867 | 422969 | 631.5 | 669.8 | 3800.3 | 0.9527 | 5.6739 | Moderate | 0 | Normal | Normal operation
2021-07-01 | 2021 | 7 | Jul | Q3 | PS5 | 2416151 | 423313 | 635.3 | 666.3 | 3803.1 | 0.9488 | 5.7077 | Moderate | 0 | Normal | Normal operation
2021-08-01 | 2021 | 8 | Aug | Q3 | PS5 | 2250705 | 393599 | 600 | 656 | 3751.2 | 0.9487 | 5.7183 | Moderate | 0 | Normal | Normal operation
2021-09-01 | 2021 | 9 | Sep | Q3 | PS5 | 2180598 | 377318 | 603.4 | 625.3 | 3613.8 | 0.9501 | 5.7792 | Moderate | 0 | Normal | Normal operation
2021-10-01 | 2021 | 10 | Oct | Q4 | PS5 | 1967641 | 362110 | 531.9 | 680.8 | 3699.1 | 0.9399 | 5.4338 | Efficient | 0 | Normal | Normal operation
2021-11-01 | 2021 | 11 | Nov | Q4 | PS5 | 1825030 | 321063 | 507.7 | 632.4 | 3594.5 | 0.9801 | 5.6843 | Moderate | 0 | Normal | Normal operation
2021-12-01 | 2021 | 12 | Dec | Q4 | PS5 | 1924312 | 332615 | 500.6 | 664.4 | 3843.9 | 0.9218 | 5.7854 | Moderate | 0 | Normal | Normal operation
2022-01-01 | 2022 | 1 | Jan | Q1 | PS5 | 1862638 | 337914 | 524.8 | 643.9 | 3549.5 | 0.9722 | 5.5122 | Moderate | 0 | Normal | Normal operation
2022-02-01 | 2022 | 2 | Feb | Q1 | PS5 | 2049290 | 355208 | 532.2 | 667.4 | 3850.4 | 0.9891 | 5.7693 | Moderate | 0 | Normal | Normal operation
2022-03-01 | 2022 | 3 | Mar | Q1 | PS5 | 2123937 | 376455 | 576.7 | 652.8 | 3683.1 | 0.9423 | 5.6419 | Moderate | 0 | Normal | Normal operation
2022-04-01 | 2022 | 4 | Apr | Q2 | PS5 | 2307407 | 404143 | 594.6 | 679.7 | 3880.6 | 0.9478 | 5.7094 | Moderate | 0 | Normal | Normal operation
2022-05-01 | 2022 | 5 | May | Q2 | PS5 | 2435390 | 417803 | 637.7 | 655.1 | 3818.8 | 0.9473 | 5.829 | Moderate | 0 | Normal | Normal operation
2022-06-01 | 2022 | 6 | Jun | Q2 | PS5 | 2362871 | 417841 | 627.4 | 666 | 3766.2 | 0.9607 | 5.655 | Moderate | 0 | Normal | Normal operation
2022-07-01 | 2022 | 7 | Jul | Q3 | PS5 | 2443025 | 420027 | 619.2 | 678.4 | 3945.8 | 0.9753 | 5.8164 | Moderate | 0 | Normal | Normal operation
2022-08-01 | 2022 | 8 | Aug | Q3 | PS5 | 2253692 | 400807 | 636.1 | 630.1 | 3543.1 | 0.9363 | 5.6229 | Moderate | 0 | Normal | Normal operation
2022-09-01 | 2022 | 9 | Sep | Q3 | PS5 | 1058419 | 192020 | 309.3 | 620.9 | 3422.5 | 0.9542 | 5.512 | Moderate | 1 | Maintenance_Period | Planned shutdown; reduced throughput
2022-10-01 | 2022 | 10 | Oct | Q4 | PS5 | 2134359 | 354740 | 522.4 | 679 | 4085.5 | 0.9569 | 6.0167 | Moderate | 0 | Normal | Normal operation
2022-11-01 | 2022 | 11 | Nov | Q4 | PS5 | 1948873 | 336904 | 525.1 | 641.6 | 3711.5 | 0.9584 | 5.7847 | Moderate | 0 | Normal | Normal operation
2022-12-01 | 2022 | 12 | Dec | Q4 | PS5 | 1927980 | 323676 | 512.2 | 632 | 3764.4 | 0.9752 | 5.9565 | Moderate | 0 | Normal | Normal operation
2023-01-01 | 2023 | 1 | Jan | Q1 | PS5 | 1958594 | 348774 | 506.7 | 688.3 | 3865.1 | 0.9531 | 5.6156 | Moderate | 0 | Normal | Normal operation
2023-02-01 | 2023 | 2 | Feb | Q1 | PS5 | 1953568 | 352946 | 556.1 | 634.6 | 3512.7 | 0.9779 | 5.535 | Moderate | 0 | Normal | Normal operation
2023-03-01 | 2023 | 3 | Mar | Q1 | PS5 | 2262895 | 328736 | 636.8 | 516.2 | 3553.5 | 0.9002 | 6.8836 | Moderate | 1 | Off_BEP_Operation | Pump operated far from best efficiency point
2023-04-01 | 2023 | 4 | Apr | Q2 | PS5 | 2259162 | 404085 | 610 | 662.5 | 3703.7 | 0.9356 | 5.5908 | Moderate | 0 | Normal | Normal operation
2023-05-01 | 2023 | 5 | May | Q2 | PS5 | 2351802 | 411285 | 659.3 | 623.9 | 3567.3 | 0.9325 | 5.7182 | Moderate | 0 | Normal | Normal operation
2023-06-01 | 2023 | 6 | Jun | Q2 | PS5 | 2269691 | 418034 | 639.5 | 653.7 | 3549.2 | 0.9542 | 5.4294 | Efficient | 0 | Normal | Normal operation
2023-07-01 | 2023 | 7 | Jul | Q3 | PS5 | 2463953 | 412124 | 644.9 | 639 | 3820.6 | 0.9719 | 5.9787 | Moderate | 0 | Normal | Normal operation
2023-08-01 | 2023 | 8 | Aug | Q3 | PS5 | 2399505 | 395349 | 592.7 | 667 | 4048.1 | 0.9559 | 6.0693 | Moderate | 0 | Normal | Normal operation
2023-09-01 | 2023 | 9 | Sep | Q3 | PS5 | 2171159 | 375111 | 574.6 | 652.8 | 3778.5 | 0.9528 | 5.788 | Moderate | 0 | Normal | Normal operation
2023-10-01 | 2023 | 10 | Oct | Q4 | PS5 | 2005382 | 347911 | 532.4 | 653.5 | 3766.9 | 0.9468 | 5.7641 | Moderate | 0 | Normal | Normal operation
2023-11-01 | 2023 | 11 | Nov | Q4 | PS5 | 1896447 | 330326 | 517 | 638.9 | 3668.1 | 0.9776 | 5.7411 | Moderate | 0 | Normal | Normal operation
2023-12-01 | 2023 | 12 | Dec | Q4 | PS5 | 1829593 | 308792 | 522.6 | 590.8 | 3500.7 | 0.9239 | 5.925 | Moderate | 0 | Normal | Normal operation
2024-01-01 | 2024 | 1 | Jan | Q1 | PS5 | 1869842 | 333287 | 510 | 653.5 | 3666.1 | 0.9433 | 5.6103 | Moderate | 0 | Normal | Normal operation
2024-02-01 | 2024 | 2 | Feb | Q1 | PS5 | 2025687 | 343615 | 567.3 | 605.7 | 3570.9 | 0.9741 | 5.8952 | Moderate | 0 | Normal | Normal operation
2024-03-01 | 2024 | 3 | Mar | Q1 | PS5 | 2179442 | 380773 | 558.7 | 681.5 | 3900.9 | 0.9623 | 5.7237 | Moderate | 0 | Normal | Normal operation
2024-04-01 | 2024 | 4 | Apr | Q2 | PS5 | 2233890 | 387723 | 621 | 624.4 | 3597.3 | 0.9494 | 5.7616 | Moderate | 0 | Normal | Normal operation
2024-05-01 | 2024 | 5 | May | Q2 | PS5 | 2413381 | 419659 | 642.4 | 653.3 | 3757 | 0.9724 | 5.7508 | Moderate | 0 | Normal | Normal operation
2024-06-01 | 2024 | 6 | Jun | Q2 | PS5 | 2414238 | 411351 | 654.3 | 628.7 | 3689.7 | 0.9504 | 5.869 | Moderate | 0 | Normal | Normal operation
2024-07-01 | 2024 | 7 | Jul | Q3 | PS5 | 2463023 | 416580 | 617.2 | 675 | 3990.8 | 0.9522 | 5.9125 | Moderate | 0 | Normal | Normal operation
2024-08-01 | 2024 | 8 | Aug | Q3 | PS5 | 2283869 | 274068 | 720 | 380.7 | 3172 | 0.8839 | 8.3332 | Inefficient | 1 | Pump_Failure_Indicator | Abnormal vibration; cavitation/seal failure signs
2024-09-01 | 2024 | 9 | Sep | Q3 | PS5 | 2050354 | 362547 | 585.4 | 619.3 | 3502.5 | 0.9813 | 5.6554 | Moderate | 0 | Normal | Normal operation
2024-10-01 | 2024 | 10 | Oct | Q4 | PS5 | 1960702 | 335845 | 567.3 | 592 | 3456.3 | 0.9535 | 5.8381 | Moderate | 0 | Normal | Normal operation
2024-11-01 | 2024 | 11 | Nov | Q4 | PS5 | 1927669 | 331670 | 522.6 | 634.7 | 3688.6 | 0.9715 | 5.812 | Moderate | 0 | Normal | Normal operation
2024-12-01 | 2024 | 12 | Dec | Q4 | PS5 | 1911568 | 330914 | 509.7 | 649.2 | 3750.4 | 0.9541 | 5.7766 | Moderate | 0 | Normal | Normal operation
2020-01-01 | 2020 | 1 | Jan | Q1 | PS7 | 1739242 | 338491 | 465.4 | 727.3 | 3737.1 | 0.9661 | 5.1382 | Efficient | 0 | Normal | Normal operation
2020-02-01 | 2020 | 2 | Feb | Q1 | PS7 | 1877528 | 353867 | 512.5 | 690.5 | 3663.7 | 0.9602 | 5.3057 | Efficient | 0 | Normal | Normal operation
2020-03-01 | 2020 | 3 | Mar | Q1 | PS7 | 1975945 | 370682 | 536.5 | 690.9 | 3682.7 | 0.9403 | 5.3306 | Efficient | 0 | Normal | Normal operation
2020-04-01 | 2020 | 4 | Apr | Q2 | PS7 | 2202544 | 281516 | 720 | 391 | 3059.1 | 0.9121 | 7.8239 | Inefficient | 1 | Pump_Failure_Indicator | Abnormal vibration; cavitation/seal failure signs
2020-05-01 | 2020 | 5 | May | Q2 | PS7 | 2293927 | 416019 | 620.2 | 670.8 | 3698.8 | 0.9702 | 5.514 | Moderate | 0 | Normal | Normal operation
2020-06-01 | 2020 | 6 | Jun | Q2 | PS7 | 2124720 | 405273 | 595.2 | 680.9 | 3569.9 | 0.9554 | 5.2427 | Efficient | 0 | Normal | Normal operation
2020-07-01 | 2020 | 7 | Jul | Q3 | PS7 | 2234231 | 418112 | 594.8 | 703 | 3756.3 | 0.9437 | 5.3436 | Efficient | 0 | Normal | Normal operation
2020-08-01 | 2020 | 8 | Aug | Q3 | PS7 | 2047036 | 392608 | 560.6 | 700.3 | 3651.6 | 0.9347 | 5.2139 | Efficient | 0 | Normal | Normal operation
2020-09-01 | 2020 | 9 | Sep | Q3 | PS7 | 1914669 | 367193 | 564.7 | 650.3 | 3390.7 | 0.9945 | 5.2143 | Efficient | 0 | Normal | Normal operation
2020-10-01 | 2020 | 10 | Oct | Q4 | PS7 | 1863787 | 356447 | 518.8 | 687 | 3592.4 | 0.9655 | 5.2288 | Efficient | 0 | Normal | Normal operation
2020-11-01 | 2020 | 11 | Nov | Q4 | PS7 | 1870073 | 331424 | 493.9 | 671.1 | 3786.6 | 0.9536 | 5.6425 | Moderate | 0 | Normal | Normal operation
2020-12-01 | 2020 | 12 | Dec | Q4 | PS7 | 1809488 | 339194 | 472.8 | 717.5 | 3827.6 | 0.9816 | 5.3347 | Efficient | 0 | Normal | Normal operation
2021-01-01 | 2021 | 1 | Jan | Q1 | PS7 | 1796518 | 331013 | 519.4 | 637.3 | 3458.8 | 0.9466 | 5.4273 | Efficient | 0 | Normal | Normal operation
2021-02-01 | 2021 | 2 | Feb | Q1 | PS7 | 1938168 | 357559 | 531 | 673.3 | 3649.7 | 0.9314 | 5.4206 | Efficient | 0 | Normal | Normal operation
2021-03-01 | 2021 | 3 | Mar | Q1 | PS7 | 1971634 | 369183 | 545.8 | 676.4 | 3612.3 | 0.9643 | 5.3405 | Efficient | 0 | Normal | Normal operation
2021-04-01 | 2021 | 4 | Apr | Q2 | PS7 | 2153628 | 398922 | 562.6 | 709.1 | 3828.1 | 0.9642 | 5.3986 | Efficient | 0 | Normal | Normal operation
2021-05-01 | 2021 | 5 | May | Q2 | PS7 | 2283313 | 418449 | 623.1 | 671.6 | 3664.5 | 0.9619 | 5.4566 | Efficient | 0 | Normal | Normal operation
2021-06-01 | 2021 | 6 | Jun | Q2 | PS7 | 2269843 | 419439 | 590.9 | 709.8 | 3841.2 | 0.9581 | 5.4116 | Efficient | 0 | Normal | Normal operation
2021-07-01 | 2021 | 7 | Jul | Q3 | PS7 | 2178044 | 416144 | 588 | 707.8 | 3704.4 | 0.9708 | 5.2339 | Efficient | 0 | Normal | Normal operation
2021-08-01 | 2021 | 8 | Aug | Q3 | PS7 | 2648009 | 385259 | 622.5 | 618.9 | 4254.1 | 0.9354 | 6.8733 | Moderate | 1 | Equipment_Degradation | Increased bearing friction; pump curve shift
2021-09-01 | 2021 | 9 | Sep | Q3 | PS7 | 2058726 | 382506 | 542.4 | 705.2 | 3795.3 | 0.9481 | 5.3822 | Efficient | 0 | Normal | Normal operation
2021-10-01 | 2021 | 10 | Oct | Q4 | PS7 | 1885029 | 349024 | 512.6 | 680.8 | 3677.1 | 0.9478 | 5.4009 | Efficient | 0 | Normal | Normal operation
2021-11-01 | 2021 | 11 | Nov | Q4 | PS7 | 1853338 | 346075 | 479.8 | 721.3 | 3862.9 | 0.9484 | 5.3553 | Efficient | 0 | Normal | Normal operation
2021-12-01 | 2021 | 12 | Dec | Q4 | PS7 | 1880405 | 341576 | 487.4 | 700.8 | 3858.1 | 0.9327 | 5.5051 | Moderate | 0 | Normal | Normal operation
2022-01-01 | 2022 | 1 | Jan | Q1 | PS7 | 2152063 | 338165 | 506.7 | 667.3 | 4246.9 | 0.891 | 6.3639 | Moderate | 1 | Power_Quality_Issue | Low power factor; voltage sags from KPLC grid
2022-02-01 | 2022 | 2 | Feb | Q1 | PS7 | 1973191 | 348362 | 538.8 | 646.5 | 3662.1 | 0.9496 | 5.6642 | Moderate | 0 | Normal | Normal operation
2022-03-01 | 2022 | 3 | Mar | Q1 | PS7 | 2073138 | 371436 | 572.6 | 648.6 | 3620.4 | 0.9472 | 5.5814 | Moderate | 0 | Normal | Normal operation
2022-04-01 | 2022 | 4 | Apr | Q2 | PS7 | 2062947 | 394139 | 579.8 | 679.8 | 3558.2 | 0.9412 | 5.2341 | Efficient | 0 | Normal | Normal operation
2022-05-01 | 2022 | 5 | May | Q2 | PS7 | 2189943 | 405938 | 596.8 | 680.2 | 3669.5 | 0.9585 | 5.3948 | Efficient | 0 | Normal | Normal operation
2022-06-01 | 2022 | 6 | Jun | Q2 | PS7 | 2387123 | 432404 | 602.3 | 717.9 | 3963.2 | 0.9518 | 5.5206 | Moderate | 0 | Normal | Normal operation
2022-07-01 | 2022 | 7 | Jul | Q3 | PS7 | 2180069 | 413575 | 618.7 | 668.5 | 3523.8 | 0.9607 | 5.2713 | Efficient | 0 | Normal | Normal operation
2022-08-01 | 2022 | 8 | Aug | Q3 | PS7 | 2171332 | 398832 | 591.8 | 673.9 | 3668.8 | 0.9918 | 5.4442 | Efficient | 0 | Normal | Normal operation
2022-09-01 | 2022 | 9 | Sep | Q3 | PS7 | 1974623 | 369898 | 543.5 | 680.6 | 3633.1 | 0.9467 | 5.3383 | Efficient | 0 | Normal | Normal operation
2022-10-01 | 2022 | 10 | Oct | Q4 | PS7 | 1940950 | 347401 | 536.3 | 647.7 | 3619 | 0.9464 | 5.5871 | Moderate | 0 | Normal | Normal operation
2022-11-01 | 2022 | 11 | Nov | Q4 | PS7 | 1763403 | 329370 | 501.4 | 656.9 | 3516.7 | 0.9645 | 5.3539 | Efficient | 0 | Normal | Normal operation
2022-12-01 | 2022 | 12 | Dec | Q4 | PS7 | 1860197 | 331623 | 462.9 | 716.5 | 4019 | 0.9819 | 5.6094 | Moderate | 0 | Normal | Normal operation
2023-01-01 | 2023 | 1 | Jan | Q1 | PS7 | 1808449 | 331127 | 488.7 | 677.5 | 3700.2 | 0.96 | 5.4615 | Efficient | 0 | Normal | Normal operation
2023-02-01 | 2023 | 2 | Feb | Q1 | PS7 | 1935348 | 357768 | 549.1 | 651.6 | 3524.9 | 0.943 | 5.4095 | Efficient | 0 | Normal | Normal operation
2023-03-01 | 2023 | 3 | Mar | Q1 | PS7 | 1976438 | 363965 | 541.2 | 672.6 | 3652.2 | 0.9819 | 5.4303 | Efficient | 0 | Normal | Normal operation
2023-04-01 | 2023 | 4 | Apr | Q2 | PS7 | 2138233 | 393359 | 588.7 | 668.2 | 3632 | 0.9728 | 5.4358 | Efficient | 0 | Normal | Normal operation
2023-05-01 | 2023 | 5 | May | Q2 | PS7 | 2337053 | 434187 | 601.8 | 721.5 | 3883.6 | 0.9707 | 5.3826 | Efficient | 0 | Normal | Normal operation
2023-06-01 | 2023 | 6 | Jun | Q2 | PS7 | 2517673 | 375055 | 720 | 520.9 | 3496.8 | 0.9196 | 6.7128 | Moderate | 1 | Off_BEP_Operation | Pump operated far from best efficiency point
2023-07-01 | 2023 | 7 | Jul | Q3 | PS7 | 2322449 | 418696 | 626.6 | 668.2 | 3706.4 | 0.9626 | 5.5469 | Moderate | 0 | Normal | Normal operation
2023-08-01 | 2023 | 8 | Aug | Q3 | PS7 | 2281011 | 406033 | 603.4 | 672.9 | 3780.5 | 0.9647 | 5.6178 | Moderate | 0 | Normal | Normal operation
2023-09-01 | 2023 | 9 | Sep | Q3 | PS7 | 2092606 | 373663 | 555 | 673.3 | 3770.6 | 0.9427 | 5.6002 | Moderate | 0 | Normal | Normal operation
2023-10-01 | 2023 | 10 | Oct | Q4 | PS7 | 1941624 | 355449 | 513.8 | 691.8 | 3778.9 | 0.9742 | 5.4624 | Efficient | 0 | Normal | Normal operation
2023-11-01 | 2023 | 11 | Nov | Q4 | PS7 | 1788836 | 337558 | 496.2 | 680.3 | 3604.9 | 0.9662 | 5.2994 | Efficient | 0 | Normal | Normal operation
2023-12-01 | 2023 | 12 | Dec | Q4 | PS7 | 1819649 | 335164 | 519.2 | 645.6 | 3504.9 | 0.9583 | 5.4291 | Efficient | 0 | Normal | Normal operation
2024-01-01 | 2024 | 1 | Jan | Q1 | PS7 | 1844990 | 338024 | 519.4 | 650.8 | 3552.3 | 0.9592 | 5.4582 | Efficient | 0 | Normal | Normal operation
2024-02-01 | 2024 | 2 | Feb | Q1 | PS7 | 1936752 | 357363 | 522.9 | 683.4 | 3703.8 | 0.9579 | 5.4196 | Efficient | 0 | Normal | Normal operation
2024-03-01 | 2024 | 3 | Mar | Q1 | PS7 | 2106910 | 383589 | 538 | 713 | 3916 | 0.9445 | 5.4926 | Efficient | 0 | Normal | Normal operation
2024-04-01 | 2024 | 4 | Apr | Q2 | PS7 | 2203470 | 407060 | 563.9 | 721.9 | 3907.6 | 0.9607 | 5.4131 | Efficient | 0 | Normal | Normal operation
2024-05-01 | 2024 | 5 | May | Q2 | PS7 | 2310372 | 426495 | 610.2 | 699 | 3786.4 | 0.9832 | 5.4171 | Efficient | 0 | Normal | Normal operation
2024-06-01 | 2024 | 6 | Jun | Q2 | PS7 | 2262652 | 408416 | 587.2 | 695.5 | 3853.3 | 0.9475 | 5.5401 | Moderate | 0 | Normal | Normal operation
2024-07-01 | 2024 | 7 | Jul | Q3 | PS7 | 2240046 | 405801 | 622 | 652.4 | 3601.2 | 0.9465 | 5.5201 | Moderate | 0 | Normal | Normal operation
2024-08-01 | 2024 | 8 | Aug | Q3 | PS7 | 2157938 | 387258 | 600.3 | 645.1 | 3594.9 | 0.9535 | 5.5724 | Moderate | 0 | Normal | Normal operation
2024-09-01 | 2024 | 9 | Sep | Q3 | PS7 | 2071567 | 389773 | 538 | 724.5 | 3850.4 | 0.9446 | 5.3148 | Efficient | 0 | Normal | Normal operation
2024-10-01 | 2024 | 10 | Oct | Q4 | PS7 | 1005747 | 193510 | 264.1 | 732.7 | 3808.1 | 0.9603 | 5.1974 | Efficient | 1 | Maintenance_Period | Planned shutdown; reduced throughput
2024-11-01 | 2024 | 11 | Nov | Q4 | PS7 | 1791485 | 326017 | 518.3 | 629 | 3456.3 | 0.9718 | 5.4951 | Efficient | 0 | Normal | Normal operation
2024-12-01 | 2024 | 12 | Dec | Q4 | PS7 | 1855647 | 332742 | 494.7 | 672.6 | 3751 | 0.9617 | 5.5768 | Moderate | 0 | Normal | Normal operation